Filano Hall

| 628 S. High Street |  |
| --- | --- |
| Built: N/A | Size: 6,390 sf |
| Acquired: 1966 | Condition: Fair |
| Last Renovation: | Function: E&G |

| Albert E. Filano Hall, a three-story brick b building located at the corner of South High S Street and University Avenue, has been known f for many years as the Smith House. The r property has long been a part of the University c campus environment. It was first owned by the C Cunningham Family, who later sold it to T h Thomas L. Hoskins, Esq., who served as a t r Trustee of West Chester State Teachers C College. After Mr. Hoskins' death, his wife r e resided on the property for ten years and then sold it to Mrs. Mildred Lamb Shearer. Mrs. Shearer later sold the home to the Vernon L. Smith Family. The University purchased the home from the Smiths in 1965. Since then, the building has provided space for a variety of administrative offices. It currently houses the office of the Vice President for Advancement, as well as the Office of Development, including the Associate Vice President for Development; the directors of annual giving, corporate and foundation divisions, and planned giving; and data information services. Filano Hall is ideally located for administrative support offices for the University. The Vice President for Development and his staff utilize the house, providing these important functions with easy access to the center of campus. |  |
| --- | --- |
|  | Present Use: Administrative offices |

Disability Access: 1st floor only (no elevator)

Past Projects: 1988 Roof, 1991 ADA Access, 1998 Fire Alarm Upgrade, 2005 Carpets

Scheduled Projects or Capital Renovations: None

Description of Construction: Stone masonry foundation, asphalt shingle roof, wood frame, brick veneer, wood floors.

| Condition and Use Assessment: |  |
| --- | --- |
| Deferred Maintenance (2007): $ 580,000 | Est Replacement Cost (2007): $ 1,372,000 |
| Facility Condition Index: 0.42 | Deficiency/SF: $ 90.76 |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |