Glen Echo Carriage House

| 844 S. New Street |  |
| --- | --- |
| Built: Late 1800’s | Size: 1,949 sf |
| Acquired: 1968 | Condition: Poor |
| Last Renovation: | Function: E&G |

Extensive repointing and stone work are required, roof replacement is necessary, and the electrical and mechanical systems need to be upgraded.

Present Use: Glen Echo is currently uninhabitable while awaiting conversion to yet-undetermined use.

Disability Access: None

Past Projects:

Scheduled Projects or Capital Renovations: None

Description of Construction: Stone foundation, wood shingle roof, combination stone and wood siding, wood floors.

| Condition and Use Assessment: |  |
| --- | --- |
| Deferred Maintenance (2007): $ 78,000 | Est Replacement Cost (2007): $ 300,000 |
| Facility Condition Index: 0.26 | Deficiency/SF: $ 40. |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |