McCoy Farmhouse

| 801 South Campus Drive |  |
| --- | --- |
| Built: 1920s | Size: 9,013 sf |
| Acquired: 1958 | Condition: Fair |
| Last Renovation: 1997 | Function: E&G |

The McCoy farmhouse is an attractive facility that marks the entrance to the South Campus Aparmtet . However, its separation from North Campus, as well as the Health Sciences Center on South Campus, is a drawback for any academic occupants. The Grounds Department has occupied both floors of this building since 2002.

Present Use: Grounds Department offices, locker rooms, break rooms.

Disability Access: 1st floor only thru entrance near accessible parking

Past Projects: 1989 Roof, 1997 General Renovations for Social Work Faculty, 2003 electrical-telephone upgrade.

Scheduled Projects or Capital Renovations: Rear porch repair, storm windows.

Description of Construction: Concrete and stone masonry foundations, asphalt shingle metal roof, combination masonry brick/stone/wood frame and siding exterior walls, wood and concrete floors.

| Condition and Use Assessment: |  |
| --- | --- |
| Deferred Maintenance (2007): $ 144,000 | Est Replacement Cost (2007): $ 1,935,000 |
| Facility Condition Index: 0.07 | Deficiency/SF: $ 15.97 |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |