Psychology Research Trailer

| 720 S. Church St |  |
| --- | --- |
| Built: 2001 | Size: 1,093 gsf |
| Acquired: | Condition: Good |
| Last Renovation: | Function: E&G |

Present Use: Psychology Department Research Lab

Disability Access: Full, with ramp to front door.

Past Projects: Mold Remediation 2005- Other adjacent trailer was demolished.

Scheduled Projects or Capital Renovations: None

Description of Construction: Wood frame, wood floor, rubber roof, temporary masonry piers and concrete foundation.

| Condition and Use Assessment: |  |
| --- | --- |
| Deferred Maintenance (2007): $ 0 | Est Replacement Cost (2007): $ 394,000 |
| Facility Condition Index: 0. | Deficiency/SF: $ 0 |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |