SC Residence Hall – 846 (formerly #174)

| 846 S. Campus Drive |  |
| --- | --- |
| Built: 1993 | Size: 8,452 sf |
| Acquired: N/A | Condition: Good |
| Last Renovation: | Function: AUX |

The eleven South Campus garden apartment buildings provide accommodations for 495 students. Each apartment accommodates 4-5 students in 2 or 3 bedrooms, kitchen, bathroom and living area. Each unit is air-conditioned. Building #846 has eight apartments. Each building has been updated for sprinkler and fire alarm protection.

Present Use: Student housing, garden apartments

Disability Access: Ground floor apartments only

Past Projects: Sprinkler and fire alarm protection (2003-2005), paint /recarpeting (2006-2007)

Scheduled Projects or Capital Renovations: Reroofing.

Description of Construction: Masonry and vinyl siding, masonry and concrete foundation, vinyl composition roof, concrete floor slabs.

| Condition and Use Assessment: |  |
| --- | --- |
| Deferred Maintenance (2007): $ | Est Replacement Cost (2007): $ 1,713,000 |
| Facility Condition Index: 0. | Deficiency/SF: $ |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |